## Style 1 3BR Cluster (2-Pl
Item No | Description | Unit | Quantity | Rate | Amount
SECTION B - SITE WORK
B4 - SITE PREPARATION
Soil treatment
A | To horizontal areas | m2 | 186 |  | 0
B | To vertical areas | m2 | 377 |  | 0
B9 - EXCAVATION
Excavation in all materials including rock, including trimming, leveling and compacting the bottom of excavated and sloped surfaces
C | Footings | m3 | 186 |  | 0
B11 - DISPOSAL
Carting away
Surplus material from excavations and/or stock piles on site to a dump site to be located by the Contractor
D | Removal of excavated material | m3 | 47 |  | 0
B12 - FILLING
Backfilling; all in accordance with the specifications and drawings
E | Filled to excavation | m3 | 140 |  | 0
B-20 PAVING AND SURFACING
Supply and installation of paving including all ancillary earthworks, sub-layers of earth filling, sub-base, waterproofing and unreinforced concrete as may be required in accordance with specifications and drawings
A | F1 - 80mm thick interlock pavers | m2 | 127 |  | 0
| Carried to Collection |  |  | AED
B21 FENCING
Fence
1800mm high hollow section fence; including finishes and all necessary fixing accessories; all in accordance with the specifications and drawings
B | To boundary wall | m | 15 |  | 0
Gates
Supply and installation of hollow section door; including framing, ironmongery, finishes, fixing, sealants, and accessories to complete the works; material to the approval of the Consultant/Engineer; all in accordance with the specifications and drawings
C | Dimensions 1000 x 1800mm | No | 2 |  | 0
B22 - BOUNDARY WALL
Supply and installation of precast boundary Walls including earthworks, precast foundations, waterproofing, Block works, hoisting, Finishes, Sleeves, and all associated works as per the specifications and drawings
D | 200mm thick, 1800mm high boundary wall | m | 12 |  | 0
E | 250mm thick, 1800mm high boundary wall | m | 59 |  | 0
F | 250mm thick, 3500mm high boundary wall | m | 11 |  | 0
| Carried to Collection |  |  | AED
B27 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION B - SITE WORK
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 1
| Total Brought Forward from Page No. |  | 2
| Total Brought Forward from Page No. |  | 3
| Carried to Final Summary |  |  | AED
SECTION C - CONCRETE WORK
C2 - POURED CONCRETE
Plain poured concrete
C20 Concrete; Plain concrete blinding including shuttering wherever applicable; all in accordance with the drawings and specifications
A | Blinding | m2 | 233 |  | 0
Reinforced Poured Concrete (Bar reinforcement elsewhere)
C36/45 Concrete; Reinforced concrete cast in situ in accordance with the specifications and drawings
B | Footings | m3 | 37 |  | 0
C | Tie beams | m3 | 12 |  | 0
D | Grade slab | m3 | 38 |  | 0
E | Suspended slab | m3 | 119 |  | 0
F | Beams | m3 | 31 |  | 0
G | Columns | m3 | 48 |  | 0
H | Stairs | m3 | 10 |  | 0
J | Retaining walls | m3 | 16 |  | 0
K | Upstand beam | m3 | 12 |  | 0
| Carried to Collection |  |  | AED
C3 - REINFORCEMENT
Deformed bar reinforcement; various diameters
Supply and installation of high-yield steel, deformed bars to BS 4449:2005; minimum yield strength of 460 N/mm2; all in accordance with the drawings and specifications
A | Footings | t | 2.58 |  | 0
B | Tie beams | t | 1.87 |  | 0
C | Grade slab | t | 4.6 |  | 0
D | Suspended slab | t | 14.33 |  | 0
E | Beams | t | 9.3 |  | 0
F | Columns | t | 15.87 |  | 0
G | Stairs | t | 1.48 |  | 0
H | Retaining walls | t | 1.96 |  | 0
J | Upstand beam | t | 0.85 |  | 0
Fabric reinforcement
K | A252 mesh, to grade slab | m2 | 233 |  | 0
C4 - SHUTTERING
Plain formwork; to the approval of the Consultant/Engineer; all in accordance with the drawings and specifications
L | Sides of footings | m2 | 57 |  | 0
M | Sides of tie beams | m2 | 97 |  | 0
N | Sides of grade slab | m2 | 24 |  | 0
| Carried to Collection |  |  | AED
P | Sides & soffits of suspended slab | m2 | 746 |  | 0
A | Sides and soffits of beams | m2 | 314 |  | 0
B | Columns | m2 | 514 |  | 0
C | Sides of the steps | m2 | 9 |  | 0
D | Staircase soffit | m2 | 33 |  | 0
E | Staircase risers | m2 | 7 |  | 0
F | Retaining walls | m2 | 199 |  | 0
G | Upstand beams | m2 | 114 |  | 0
| Carried to Collection |  |  | AED
C8 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION C - CONCRETE WORK
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 5
| Total Brought Forward from Page No. |  | 6
| Total Brought Forward from Page No. |  | 7
| Total Brought Forward from Page No. |  | 8
| Carried to Final Summary |  |  | AED
SECTION D - MASONRY
D2 - WALL AND PIERS
Internal block walls
Solid block walls; comprising of concrete blocks in cement mortar including reinforcement, lateral supports, joint fillers, sealants, sills, head restraint, metal lathing, galvanized strap anchors, steel flats where applicable, formation of openings, recesses, and groves, grout filling, complete in accordance with specifications and drawings
A | Type G; 100mm thick | m2 | 18 |  | 0
B | Type F; 200mm thick | m2 | 12 |  | 0
C | Type K; 300mm thick | m2 | 59 |  | 0
AAC block wall; comprising AAC block wall in cement mortar , reinforcement, lateral supports, joint fillers, sealants, sills, head restraint, metal lathing, galvanized strap anchors, steel flats where applicable, formation of openings, recesses, and groves, grout filling; complete in accordance with specifications and drawings
D | Type D; 100mm thick | m2 | 329 |  | 0
E | Type C; 150mm thick | m2 | 7 |  | 0
F | Type B; 200mm thick | m2 | 66 |  | 0
G | Type A; 250mm thick | m2 | 15 |  | 0
| Carried to Collection |  |  | AED
External block walls
AAC block wall; comprising AAC block wall in cement mortar including waterproofing and insulation, reinforcement, lateral supports, joint fillers, sealants, sills, head restraint, metal lathing, galvanized strap anchors, steel flats where applicable, formation of openings, recesses, and groves, grout filling; complete in accordance with specifications and drawings
A | Type C; 150mm thick | m2 | 32 |  | 0
B | Type B; 200mm thick | m2 | 63 |  | 0
C | Type A; 250mm thick | m2 | 309 |  | 0
D | Type A; 250mm thick Circular block work | m2 | 13 |  | 0
Solid block walls; comprising of concrete blocks in cement mortar including waterproofing and insulation, reinforcement, lateral supports, joint fillers, sealants, sills, head restraint, metal lathing, galvanized strap anchors, steel flats where applicable, formation of openings, recesses, and groves, grout filling, complete in accordance with specifications and drawings
E | Type K; 300mm thick | m2 | 25 |  | 0
| Carried to Collection |  |  | AED
D6 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION D - MASONRY
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 10
| Total Brought Forward from Page No. |  | 11
| Total Brought Forward from Page No. |  | 12
| Carried to Final Summary |  |  | AED
SECTION E - METALWORK
E3 - NON-STRUCTURAL METALWORK
Aluminium Fencing
A | Aluminium box section to external compound wall, 50 x 150mm size, 1800mm high, painted with elastomeric epoxy pain in RAL colour 7043; all in accordance with specification and drawings | m | 14 |  | 0
Metal Trim
B | 3mm thick brushed stainless steel angle trim to staircase; all in accordance with specification and drawings | m | 16 |  | 0
Access panel
C | Suspended ceiling access panel, Dimensions: 300 x 300mm | No | 8 |  | 0
D | Suspended ceiling access panel, Dimensions: 600 x 600mm | No | 8 |  | 0
| Carried to Collection |  |  | AED
E4 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION E - METAL WORK
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 14
| Total Brought Forward from Page No. |  | 15
| Carried to Final Summary |  |  | AED
SECTION F - WOODWORK
F7 - COMPOSITE ITEMS
Wardrobes
Wardrobe; comprising laminate on MDF (WD-01) 6 nos. openable shutters, shelves, 100mm high skirting; melamine on MDF (WD-02) carcass, back panel and shelves; shadow gaps, ironmongery and all necessary fixing accessories required to complete the installation; material to the approval of the Consultant/Engineer; all in accordance with specifications and drawings
A | L-shaped, Dimensions: (3000흎) x 630 x 2600mm | No | 2 |  | 0
Wardrobe; comprising laminate on MDF (WD-01) 3 nos. openable shutters, shelves, back panel, 100mm high skirting; melamine on MDF (WD-02) carcass; shadow gaps, ironmongery and all necessary fixing accessories required to complete the installation; material to the approval of the Consultant/Engineer; all in accordance with specifications and drawings
B | Dimensions: 2070 x 625 x 3315mm | No | 4 |  | 0
Full shelves; comprising laminate on MDF (WD-01) 1 nos. openable shutters; shelves, back panel, carcass, 100mm high skirting, shadow gaps, ironmongery and all necessary fixing accessories required to complete the installation; material to the approval of the Consultant/Engineer; all in accordance with specifications and drawings
C | Dimensions: 520 x 550 x 2600mm | No | 2 |  | 0
| Carried to Collection |  |  | AED
Kitchen cabinets
Kitchen base cabinet units; comprising engineered stone (ST-01) stone counter top; laminate on MRMDF (WD-03) shutters; melamine on MRMDF (WD-04) carcass, shelves, drawers; accessories, fixings, brackets, metal supports and fittings required to complete the installation; include for all preparatory works necessary for the installation of the required white goods and MEP works; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
A | Dimensions: 5360 x 620 x 900mm | No | 2 |  | 0
Kitchen wall cabinet units; comprising laminate on MRMDF (WD-03) shutters; melamine on MRMDF (WD-04) carcass, shelves, drawers; accessories, fixings, brackets, metal supports and fittings required to complete the installation; include for all preparatory works necessary for the installation of the required white goods and MEP works; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
B | Dimensions: 4015 x 350 x 980mm | No | 2 |  | 0
C | Dimensions: 910 x 650 x 700mm | No | 2 |  | 0
Kitchen tall unit; comprising laminate on MRMDF (WD-03) shutters; melamine on MRMDF (WD-04) carcass, shelves, drawers; accessories, fixings, brackets, metal supports and fittings required to complete the installation; include for all preparatory works necessary for the installation of the required white goods and MEP works; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
D | Dimensions: 460 x 620 x 2570mm | No | 2 |  | 0
| Carried to Collection |  |  | AED
Pantry-Type 1; comprising shutters, carcass, shelves; accessories, fixings, brackets, metal supports and fittings required to complete the installation; include for all preparatory works necessary for the installation of the required white goods and MEP works; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
A | Dimensions: 600 x 620 x 900mm | No | 2 |  | 0
Vanity counter
Vanity units; comprising ST-01 stone counter top, 350mm high back splash and fascia; including all necessary finishes and accessories to complete the assembly; include for all preparatory works necessary for the installation of associated sanitaryware and MEP; all in accordance with the specifications and drawings
B | Dimensions: 785 x 550 x 300mm | No | 2 |  | 0
C | Dimensions: 1610 x 550 x 300mm | No | 2 |  | 0
D | Dimensions: 1050 x 550 x 300mm | No | 2 |  | 0
E | Dimensions: 770 x 550 x 300mm | No | 2 |  | 0
Floating shelf
Floating shelf; 18mm thick, wood look laminate on MRMDF (WD-05) with 9mm thick MRMDF underside cover; including all necessary accessories to complete the assembly; all in accordance with the specifications and drawings
F | Dimensions: 785 x 500 x 50mm | No | 2 |  | 0
G | Dimensions: 1610 x 500 x 50mm | No | 2 |  | 0
H | Dimensions: 1050 x 500 x 50mm | No | 2 |  | 0
A | Dimensions: 770 x 500 x 50mm | No | 2 |  | 0
| Carried to Collection |  |  | AED
Medicine cabinets
Medicine cabinet; wall hung unit comprising 2 nos. openable shutters fixed with 6mm thick vanity mirror (GL-01); with MRMDF backing and carcass in HPL internal finish; including accessories, fixings, brackets, metal supports and fittings required to complete the installation; include for all preparatory works necessary for the installation of the required MEP works; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
B | Dimensions: 1610 x 135 x 1200mm | No | 2 |  | 0
Wooden Shelves
Wooden shelves to wall niche; laminated MDF (WD-05) concealed open shelf brackets fixed to wall; including accessories, fixings, brackets, metal supports and fittings required to complete the installation; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
C | Dimensions: 1380 x 350 x 900mm | No | 2 |  | 0
Wooden Handrail
D | WD-07; solid wooden handrail, 40mm dia, fixed to staircase wall, with 2mm thick minimum steel square hollow tube sleeve angle bracket including glass railings; all in accordance with the specifications and drawings | m | 34 |  | 0
| Carried to Collection |  |  | AED
F11 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION F - WOODWORK
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 17
| Total Brought Forward from Page No. |  | 18
| Total Brought Forward from Page No. |  | 19
| Total Brought Forward from Page No. |  | 20
| Total Brought Forward from Page No. |  | 21
| Carried to Final Summary |  |  | AED
SECTION G - THERMAL AND MOISTURE PROTECTION
G2 - COVERINGS AND LININGS
Substructure
Two coats of bitumen coat as per specifications and drawings and in accordance with manufacturer recommendations
A | Vertical | m2 | 199 |  | 0
B | Horizontal | m2 | 25 |  | 0
1000 gauge PE sheet to bottom of grade slab and footings
C | Under blinding | m2 | 233 |  | 0
Internally
Internal waterproofing; including all necessary fixing accessories; all in accordance with the drawings and specifications
D | Horizontal and vertical | m2 | 72 |  | 0
External areas
Waterproofing system; including protection screed,membrane, insulation board, turnups; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
E | To balcony & MEP area | m2 | 215 |  | 0
Waterproofing system; including protection screed,membrane, insulation board, turnups; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
A | To roof | m2 | 69 |  | 0
| Carried to Collection |  |  | AED
Waterproofing to Carport slab; to the approval of the Consultant/ Engineer; all in accordance with the specifications and drawings
B | To carport Slab | m2 | 79 |  | 0
| Carried to Collection |  |  | AED
G5 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION G - THERMAL & MOISTURE PROTECTION
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 23
| Total Brought Forward from Page No. |  | 24
| Total Brought Forward from Page No. |  | 25
| Carried to Final Summary |  |  | AED
SECTION H - DOORS AND WINDOWS
H1 - DOORS
Timber Doors
A | WD01; Dimensions 1200 x 2700mm | No | 2 |  | 0
B | WD02; Dimensions 1100 x 2200mm | No | 8 |  | 0
C | WD03; Dimensions 1100 x 2200mm | No | 2 |  | 0
D | WD04; Dimensions 890 x 2200mm | No | 8 |  | 0
E | WD05; Dimensions 890 x 2200mm | No | 2 |  | 0
Timber double-leaf swing doors; including architraves, framing, ironmongery, finishes, fixing, sealants, and accessories to complete the works; material to the approval of the Consultant/Engineer; all in accordance with the specifications and drawings
F | WD06; Dimensions 850 x 2200mm | No | 4 |  | 0
Metal Doors
Metal doors; double-leaf swing doors; including architraves, framing, ironmongery, finishes, fixing, sealants, and accessories to complete the works; material to the approval of the Consultant/Engineer; all in accordance with the specifications and drawings
G | MD01; Dimensions 900 x 1400mm | No | 2 |  | 0
| Carried to Collection |  |  | AED
Metal doors; single-leaf swing doors; including architraves, framing, ironmongery, finishes, fixing, sealants, and accessories to complete the works; material to the approval of the Consultant/Engineer; all in accordance with the specifications and drawings
A | MD02; Dimensions 800 x 1800mm | No | 2 |  | 0
B | MD03; Dimensions 700 x 1800mm | No | 2 |  | 0
C | MD04; Dimensions 1000 x 1200mm | No | 2 |  | 0
Glazed Doors
D | GL03; Dimensions 2750 x 2700mm | No | 10 |  | 0
E | GL04; Dimensions 2750 x 2450mm | No | 4 |  | 0
F | GL18; Dimensions 2750 x 2500mm | No | 2 |  | 0
Glass single-leaf swing doors; including architraves, framing, ironmongery, finishes, fixing, sealants, and accessories to complete the works; material to the approval of the Consultant/Engineer; all in accordance with the specifications and drawings
G | GL11; Dimensions 2000 x 2700mm | No | 2 |  | 0
H1 - WINDOWS
Glazed Windows
H | W07; Dimensions 600 x 1300mm | No | 10 |  | 0
J | W09; Dimensions 2100 x 2700mm | No | 2 |  | 0
| Carried to Collection |  |  | AED
H7 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION H - DOORS AND WINDOWS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 27
| Total Brought Forward from Page No. |  | 28
| Total Brought Forward from Page No. |  | 29
| Carried to Final Summary |  |  | AED
SECTION J - FINISHES
J2 - BACKGROUNDS
Internal
Cement and sand plaster to receive finishes (finishes measured separately); all in accordance with drawings and specifications
A | To walls | m2 | 2058 |  | 0
B | Cement sand screed | m2 | 507 |  | 0
External walls
C | Cement / sand external plaster to walls | m2 | 1485 |  | 0
J3 - FINISHES
Internal wall finishes
Tile
D | TL-01; Porcelain tile with R9 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 100 x 9mm | m2 | 131 |  | 0
Cistern ledge
E | TL-01; Porcelain tile with R9 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 100 x 9mm | m2 | 20 |  | 0
F | ST-01; Engineered stone, polished finish | m2 | 7 |  | 0
Skirting
Porcelain tile skirting
A | TL-01; Porcelain tile with R9 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 100 x 9mm | m | 50 |  | 0
| Carried to Collection |  |  | AED
B | TL-02; Porcelain tile with R9 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 100 x 6mm | m | 543 |  | 0
C | TL-03; Porcelain tile with R10 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 100 x 9mm | m | 23 |  | 0
Metal skirting
D | MT-01; Brushed stainless steel skirting to kitchen. 100mm high | m | 36 |  | 0
External Wall finishes
E | M-01; Exterior white plaster paint finish over sand cement render | m2 | 1134 |  | 0
F | M-02; Exterior stucco decorative (including groove and paint finish) | m2 | 351 |  | 0
Balcony soffit
G | M-01; Exterior white plaster paint finish to balcony facia | m2 | 31 |  | 0
H | M-03; Balcony soffit paint finish | m2 | 111 |  | 0
Balcony railing
J | M-05; 1.20m high laminated safety glass railing, complete and finish as per the drawings and specifications | m | 102 |  | 0
Internal floor finishes
Porcelain tile flooring
A | TL-01; Porcelain tile with R9 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 600 x 9mm | m2 | 293 |  | 0
| Carried to Collection |  |  | AED
B | TL-03; Porcelain tile with R10 slip resistance rating and TT6606, Rectified, matte finish. Dimensions: 600 x 600 x 9mm | m2 | 34 |  | 0
Staircase finishes
C | ST-02; Marble stone to staircase tread | m2 | 14 |  | 0
D | ST-02; Marble stone to staircase riser | m2 | 7 |  | 0
E | PT-01; Fenomastic emulsion silk colour paint to staircase soffit | m2 | 26 |  | 0
Threshold
F | ST-02;150mm wide | m | 3 |  | 0
G | ST-02;160mm wide | m | 16 |  | 0
H | ST-02;235mm wide | m | 35 |  | 0
J | ST-02;300mm wide | m | 2 |  | 0
External floor finishes
Supply and fixing tiles in accordance with specifications, drawings and manufactures recommendations
K | TL-03; Porcelain tile with R10 slip resistance rating and TT6606, Rectified, matte finish, to balconies Dimensions: 600 x 600 x 9mm | m2 | 131 |  | 0
A | TL-03; Porcelain tile with R10 slip resistance rating and TT6606, Rectified, matte finish, to outside area Dimensions: 600 x 600 x 9mm | m2 | 20 |  | 0
B | M-08; Entrance steps finished with tiles | m2 | 8 |  | 0
| Carried to Collection |  |  | AED
J6 - DECORATION
Prepare and apply paint and coatings to various surfaces; all in accordance with the drawings and specifications
Internal paint to walls
C | PT-01; Fenomastic emulsion silk paint to villa dry areas | m2 | 1524 |  | 0
D | PT-02; Hygiene emulsion matte paint to villa wet areas | m2 | 375 |  | 0
J5 - SUSPENDED CEILINGS
Suspended gypsum board ceiling system; jointed and finished for smooth surface to receive painting (painting measured separately); fixed to and including metal support system; including bulkheads; including all necessary fixing accessories; all in accordance with the drawings and specifications;
E | Gypsum board suspended ceiling | m2 | 97 |  | 0
F | Moisture resistant suspended ceiling | m2 | 58 |  | 0
G | 20mm thick MR MDF panel to pelmet soffit | m2 | 11 |  | 0
H | Bulkhead; 385mm high | m | 6 |  | 0
J | Bulkhead; 465mm high | m | 14 |  | 0
K | Bulkhead; 665mm high | m | 5 |  | 0
A | Bulkhead; 715mm high | m | 3 |  | 0
Curtain pelmet; including all necessary suspension system, support framing, fittings and fixing accessories, all in accordance with the drawings and specification
B | Pelmets 200mm high | m | 48 |  | 0
| Carried to Collection |  |  | AED
J6 - DECORATIONS
Prepare and apply paint and coatings to various surfaces; all in accordance with the drawings and specifications
Internal paint to ceiling
C | PT-01; Fenomastic Emulsion silk paint to villa dry areas | m2 | 323 |  | 0
D | PT-02; Hygiene emulsion matte paint to villa wet areas | m2 | 58 |  | 0
| Carried to Collection |  |  | AED
J8 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION J - FINISHES
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 31
| Total Brought Forward from Page No. |  | 32
| Total Brought Forward from Page No. |  | 33
| Total Brought Forward from Page No. |  | 34
| Total Brought Forward from Page No. |  | 35
| Total Brought Forward from Page No. |  | 36
| Carried to Final Summary |  |  | AED
SECTION K - ACCESSORIES
K1 - GENERALLY
A | GL-01; Mirror, Dimensions: 785 x 1200 mm | No | 2 |  | 0
B | GL-01; Mirror, Dimensions: 500 x 1000 mm | No | 2 |  | 0
C | GL-01; Mirror, Dimensions: 1050 x 1200 mm | No | 2 |  | 0
D | GL-01; Mirror, Dimensions: 770 x 1200 mm | No | 2 |  | 0
Signage
E | Villa identification signage | No | 2 |  | 0
K2 - PARTITIONS
Glazed partitions
F | GL-01; Shower glass partition with MT-02 metal frame including with support system, ironmongery, sealer, and all necessary fixing accessories and drawings | m2 | 6 |  | 0
| Carried to Collection |  |  | AED
K3 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION K - ACCESSORIES
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 38
| Total Brought Forward from Page No. |  | 39
| Carried to Final Summary |  |  | AED
SECTION L - EQUIPMENT
L1 - GENERALLY
Kitcen hood
A | KA-03; built-in kitchen hood; stainless steel finish; product no: TL 9310; brand; Franke or approved equivalent Dimension: 900mm (W) x 304-437mm (D) x 181mm (H) | No | 4 |  | 0
Garbage Bin
Garbage bin all in accordance with drawings and specifications
B | Garbage bin | No | 4 |  | 0
| Carried to Collection |  |  | AED
L2 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
SECTION L - EQUIPMENT
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 41
| Total Brought Forward from Page No. |  | 42
| Carried to Final Summary |  |  | AED
Q1 MECHANICAL ENGINEERING - SANITARY APPLIANCES
Supply and installation of sanitary appliances including mountings, supports, all required accessories and connections to water supply and waste pipes and testing and commissioning, complete as per specifications and drawings
A | BA-01; Wall mounted water closet | No | 8 |  | 0
B | BA-02; Concealed cistern | No | 8 |  | 0
C | BA-03; Flush plate | No | 8 |  | 0
D | BA-04; Trigger spray | No | 8 |  | 0
E | BA-11; Angle valve | No | 8 |  | 0
F | BA-05; Undercounter wash basin | No | 8 |  | 0
G | BA-06; Basin mixer | No | 8 |  | 0
H | BA-10; Bottle trap | No | 8 |  | 0
J | BA-07; Shower set | No | 4 |  | 0
K | BA-08; Shower mixer | No | 4 |  | 0
L | BA-09; Bathtub | No | 2 |  | 0
M | BA-12; Floor mounted water closet to maid's bathroom | No | 2 |  | 0
N | BA-13; Trigger spray to maid's bathroom | No | 2 |  | 0
P | BA-11; Ablution set to maid's bathroom | No | 2 |  | 0
Q | BA-14; Wall mounted wash basin to maid's bathroom | No | 2 |  | 0
| Carried to Collection |  |  | AED
A | BA-15; Basin mixer to maid's bathroom | No | 2 |  | 0
B | BA-16; Hand shower set to maid's bathroom | No | 2 |  | 0
C | BA-17; Shower mixer to maid's bathroom | No | 2 |  | 0
D | BA-18; Shower tray to maid's bathroom | No | 2 |  | 0
E | BA-19; Tissue roll holder | No | 8 |  | 0
F | BA-20; Tissue roll holder to maid's bathroom | No | 2 |  | 0
G | BA-21; Robe hook | No | 8 |  | 0
H | BA-22; Robe hook to maid's bathroom | No | 2 |  | 0
J | BA-23; Towel rail | No | 4 |  | 0
K | BA-24; Tower ring | No | 8 |  | 0
L | BA-25; Towel ring to maid's bathroom | No | 2 |  | 0
M | BA-26; Linear shower drain | No | 2 |  | 0
N | BA-27; Floor drain 1 | No | 18 |  | 0
P | BA-28; Floor drain 2 to maid's bathroom and laundry | No | 4 |  | 0
Q | KA-01; Undermount double sink to kitchen | No | 2 |  | 0
R | KA-02; Sink mixer to kitchen | No | 4 |  | 0
S | KA-09; Under sink base unit liners with detergent holder | No | 2 |  | 0
T | KA-08; Undermount sink to kitchen roof | No | 2 |  | 0
| Carried to Collection |  |  | AED
P4 - ADDITIONS AND OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
Q1 MECHANICAL ENGINEERING - SANITARY APPLIANCES
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 44
| Total Brought Forward from Page No. |  | 45
| Total Brought Forward from Page No. |  | 46
| Carried to Final Summary |  |  | AED
Q2 MECHANICAL ENGINEERING - DISPOSAL INSTALLATIONS
Q21 RAIN WATER INSTALLTIONS
A | Supply and install MuPVC pipes and fittings including insulation, hangers and supports as per drawings and specifications 50mm diameter; Balcony drain pipe; BDP | m | 31 |  | 0
Supply and install uPVC pipes and fittings including hangers and supports as per drawings and specifications
B | 82mm diameter; Rain water pipe; RWP | m | 22 |  | 0
C | 110mm diameter; Rain water pipe; RWP | m | 20 |  | 0
D | BD; Balcony drain | No | 8 |  | 0
E | RWO; Scupper type 82mm | No | 2 |  | 0
F | RWO; Scupper type 110mm | No | 6 |  | 0
G | RWO; 110mm | No | 2 |  | 0
H | RWP Free Discharge | No | 10 |  | 0
Q22 SOIL, WASTE AND VENT INSTALLATIONS
Supply and install MuPVC pipes and fittings including hangers and supports as per drawings and specifications
J | 32mm diameter; waste pipe; WP | m | 4 |  | 0
K | 40mm diameter; waste pipe; WP | m | 2 |  | 0
A | 50mm diameter; waste pipe; WP | m | 0.2 |  | 0
| Carried to Collection |  |  | AED
Supply and install uPVC pipes and fittings including hangers and supports as per drawings and specifications
B | 82mm diameter; waste pipe; WP | m | 7 |  | 0
C | 110mm diameter; waste pipe; WP | m | 24 |  | 0
D | 110mm diameter; soil pipe; SP | m | 22 |  | 0
E | 82mm diameter; vent pipe; VP | m | 40 |  | 0
F | 110mm diameter; vent pipe; VP | m | 15 |  | 0
G | 40mm diameter - CO | No | 2 |  | 0
H | 110mm diameter - CO | No | 4 |  | 0
J | FD; Floor drain | No | 18 |  | 0
K | Vent Cowl; 82mm diameter | No | 4 |  | 0
L | Vent Cowl; 110mm diameter | No | 2 |  | 0
Supply and install uPVC pipes and fittings under ground as per drawings and specifications
M | 32mm diameter; waste pipe; WP | m | 4 |  | 0
N | 40mm diameter; waste pipe; WP | m | 9 |  | 0
P | 82mm diameter; waste pipe; WP | m | 29 |  | 0
Q | 110mm diameter; waste pipe; WP | m | 32 |  | 0
R | 160mm diameter; waste pipe; WP | m | 42 |  | 0
S | 110mm diameter; soil pipe; SP | m | 19 |  | 0
A | 160mm diameter; soil pipe; SP | m | 44 |  | 0
B | 82mm diameter; vent pipe; VP | m | 29 |  | 0
C | 110mm diameter; vent pipe; VP | m | 31 |  | 0
| Carried to Collection |  |  | AED
D | 50mm diameter; balcony drain pipe; BDP | m | 35 |  | 0
E | 50mm diameter; pressure drain pipe; PDP | m | 35 |  | 0
F | 110mm diameter - FCO | No | 2 |  | 0
G | 160mm diameter - FCO | No | 14 |  | 0
H | Supply and install uPVC pipes and fittings including insulation, hangers and supports as per Drawings and Specifications 40mm diameter; waste pipe; WP | m | 16 |  | 0
J | 50mm diameter; waste pipe; WP | m | 2 |  | 0
K | 82mm diameter; waste pipe; WP | m | 4 |  | 0
L | 110mm diameter; soil pipe; SP | m | 8 |  | 0
Q23 CONDENSATE INSTALLATIONS
Supply and install uPVC pipes and fittings including hangers and supports as per drawings and specifications
M | 25mm diameter; condensate pipe; CDP | m | 43 |  | 0
Q24 EQUIPMENT AND ACCESSORIES
Supply and install sand trap, gully trap, manhole, pits, & valve chambers, accessories and connections as per drawings and specifications
A | Catch basin with sand bucket | No | 2 |  | 0
B | DGT; Dry gully trap | No | 2 |  | 0
C | MH-01; Dry manhole 600x600mm | No | 2 |  | 0
D | PMH; Pressure breaking manhole | No | 2 |  | 0
E | Back Drop with cleanout with access cover | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q2 MECHANICAL ENGINEERING - DISPOSAL INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 48
| Total Brought Forward from Page No. |  | 49
| Total Brought Forward from Page No. |  | 50
| Carried to Final Summary |  |  | AED
Q3 MECHANICAL ENGINEERING - WATER INSTALLATIONS
Q31 COLD WATER INSTALLATIONS
Supply and install PPR pipes and fittings including hangers and supports as per drawings and specifications
A | BCWS; 20mm dia | m | 89 |  | 0
B | BCWS; 25mm dia | m | 14 |  | 0
C | BCWS; 32mm dia | m | 15 |  | 0
Supply and install PPR pipes and fittings underground as per drawings and specifications
D | CWS; 25mm dia U/G | m | 40 |  | 0
E | CWS; 32mm dia U/G | m | 1 |  | 0
F | CWS; 40mm dia U/G | m | 7 |  | 0
G | BCWS; 20mm dia U/G | m | 24 |  | 0
H | BCWS; 25mm dia U/G | m | 1 |  | 0
J | BCWS; 32mm dia U/G | m | 15 |  | 0
Supply and install PEX pipes and fittings including hangers and supports as per drawings and specifications
K | CWS PEX; 15mm dia in 25mm PVC | m | 114 |  | 0
L | Supply and install Insulation for Cold Water pipes and fittings as per drawings and specifications BCWS; 20mm dia | m | 3 |  | 0
A | BCWS; 25mm dia | m | 10 |  | 0
| Carried to Collection |  |  | AED
Q33 HOT WATER INSTALLATIONS
Supply and install PPR pipes and fittings including insulation, hangers and supports as per drawings and specifications
B | HWS&R 20mm | m | 126 |  | 0
C | HWS&R 25mm | m | 10 |  | 0
Supply and install PEX pipes and fittings including hangers and supports as per drawings and specifications
D | HWS PEX; 15mm dia in 25mm PVC | m | 47 |  | 0
Q34 EQUIPMENT AND ACCESSORIES
Supply and install solar water heater including valves, accessories and connections as per drawings and specifications
E | Thermosyphon type solar thermal hot water system; 200 liters with electric backup; 2 kw | No | 2 |  | 0
Supply and install domestic water pumps including accessories and connections as per drawings and specifications
F | Cold water booster pump (1 duty); Flow rate 1.5 l/s, Head 30mtrs | No | 2 |  | 0
G | Hot water recirculation pump (1 duty); Flow rate 0.14 L/s, Head 20mtrs | No | 2 |  | 0
Supply and install valves, fittings including all accessories and connections as per drawings and specifications
A | AAV; 25mm | No | 4 |  | 0
| Carried to Collection |  |  | AED
B | Bib tap | No | 6 |  | 0
C | IV; 20mm | No | 36 |  | 0
D | IV; 25mm | No | 6 |  | 0
E | GV; 40mm | No | 2 |  | 0
F | NRV 20mm | No | 2 |  | 0
G | NRV 25mm | No | 2 |  | 0
H | Strainer 40mm | No | 2 |  | 0
J | Water Hammer Arrestor 32mm | No | 2 |  | 0
K | Float Valve 25mm | No | 2 |  | 0
L | Thermostatic mixing valve 25mm;(within built NRV) | No | 2 |  | 0
M | Air vent pipe wire mesh Screen | No | 2 |  | 0
Supply and install underground polyethylene water tank as per drawings and specifications
N | Underground polyethylene water tank; 600 US gallons | No | 2 |  | 0
Supply and install surface mounted water meter as per drawings and specifications
P | Surface mounted water meter; 25mm | No | 2 |  | 0
Q | Gate valve; 25mm | No | 4 |  | 0
A | Water meter cabinet | No | 2 |  | 0
B | Valve chamber | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q3 MECHANICAL ENGINEERING - WATER INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 52
| Total Brought Forward from Page No. |  | 53
| Total Brought Forward from Page No. |  | 54
| Carried to Final Summary |  |  | AED
Q4 MECHANICAL ENGINEERING - SPACE HEATING AND AIR CONDITIONING
Q41 DUCT WORK AND ACCESSORIES
Supply and install pre-insulated duct including accessories, hangers and supports as per Drawings and Specifications
A | Supply air duct (SAD) | m2 | 100 |  | 0
Supply and install flexible duct including accessories, hangers and supports as per Drawings and Specifications
B | Flexible Ducts; 150mm Dia | m | 6 |  | 0
C | Flexible Ducts; 200mm Dia | m | 6 |  | 0
D | SR; 650x200mm | No | 2 |  | 0
E | RG; 650x200mm | No | 2 |  | 0
F | SR; 750x150mm | No | 2 |  | 0
G | RG; 750x150mm | No | 2 |  | 0
H | SR; 800x150mm | No | 2 |  | 0
J | RG; 800x150mm | No | 2 |  | 0
K | SR; 1050x150mm | No | 2 |  | 0
L | RG; 1050x150mm | No | 2 |  | 0
M | SSD; 800mm 2 slot (20mm slot width) | No | 2 |  | 0
N | SSD; 1000mm 2 slot (20mm slot width) | No | 2 |  | 0
A | SLD; 1000mm 2 slot (20mm slot width) | No | 2 |  | 0
| Carried to Collection |  |  | AED
B | RLD; 1000mm 2 slot (20mm slot width) | No | 2 |  | 0
C | SLD; 1400mm 2 slot (20mm slot width) | No | 2 |  | 0
D | RLD; 1400mm 2 slot (20mm slot width) | No | 2 |  | 0
E | SLD; 2000mm 2 slot (20mm slot width) | No | 2 |  | 0
F | RLD; 2000mm 2 slot (20mm slot width) | No | 2 |  | 0
Supply and install dampers including accessories as per Drawings and Specifications
G | VCD; 200mm dia | No | 2 |  | 0
H | VCD; 150X150 | No | 6 |  | 0
J | VCD; 200X200 | No | 4 |  | 0
K | VCD; 250X200 | No | 2 |  | 0
L | VCD; 250X250 | No | 2 |  | 0
M | VCD; 400X200 | No | 4 |  | 0
N | VCD; 450X200 | No | 2 |  | 0
P | VCD; 450X250 | No | 2 |  | 0
Q | VCD; 550X250 | No | 2 |  | 0
Supply and install plenum box including accessories as per Drawings and Specifications
R | Plenum Box | No | 10 |  | 0
Supply and install refridgeration pipe including accessories, hangers and supports as per Drawings and Specifications
A | Refrigeration pipe | m | 126 |  | 0
| Carried to Collection |  |  | AED
Supply and install DX split units (ducted concealed) including outdoor condensing unit, valves, refrigerant, accessories and connections as per Drawings and Specifications
3 Bed
B | FCU-G-GF-01/CU-GF-01 (IDU㠵); Total Load 12.3Kw, Airflow 686L/s | No | 2 |  | 0
C | FCU-D-FF-01/CU-FF-01 (IDU㠵); Total Load 4.7Kw, Airflow 304L/s | No | 2 |  | 0
D | FCU-B-FF-02/CU-FF-02 (IDU㠵); Total Load 8.5Kw, Airflow 550L/s | No | 2 |  | 0
E | FCU-D-RF-01/CU-RF-01 (IDU㠵); Total Load 4.4Kw, Airflow 263L/s | No | 2 |  | 0
Supply and install DX split units (decorative) including outdoor condensing unit, valves, refrigerant, accessories and connections as per Drawings and Specifications
3 Bed
F | FCU-B-GF-01/CU-GF-01 (IDU㠵); Total Load 2.5Kw, Airflow 135L/s | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q4 MECHANICAL ENGINEERING - SPACE HEATING AND AIR CONDITIONING
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 56
| Total Brought Forward from Page No. |  | 57
| Total Brought Forward from Page No. |  | 58
| Carried to Final Summary |  |  | AED
Q5 MECHANICAL ENGINEERING - VENTILATION INSTALLATIONS
Q51 DUCTWORK AND ACCESSORIES
Supply and install galvanized steel duct and fittings including hangers and supports as per Drawings and Specifications
A | Extract air Duct (EAD) | m2 | 36 |  | 0
Supply and install flexible duct and fittings including hangers and supports as per Drawings and Specifications
B | Flexible duct; 100mm dia | m | 12 |  | 0
C | Flexible duct; 150mm dia | m | 2 |  | 0
Supply and install uPVC pipe and fittings including hangers and supports as per Drawings and Specifications
D | Fresh air pipe; 100mm | m | 4 |  | 0
E | Fresh air pipe; 150mm | m | 12 |  | 0
F | Fresh air pipe; 200mm | m | 2 |  | 0
Supply and install thermal insulation including accessories as per Drawings and Specifications
G | Thermal insulation to Extract air Duct (EAD) | m2 | 14 |  | 0
H | ED-1; 1000mm 2 slot (20mm) linear diffuser | No | 2 |  | 0
J | ED-2; 150mm disc valve | No | 10 |  | 0
K | ED-3; 150mm disc valve | No | 2 |  | 0
| Carried to Collection |  |  | AED
A | Extract goose neck with wire mesh & insect screen - 3 Bed | No | 2 |  | 0
B | Fresh air goose neck with wire mesh & insect screen - 3 Bed | No | 2 |  | 0
Supply and install dampers including accessories as per Drawings and Specifications
C | VCD; 150x150mm | No | 2 |  | 0
D | VCD; 100mm; dia | No | 2 |  | 0
E | VCD; 150mm; dia | No | 2 |  | 0
F | VCD; 200mm; dia | No | 2 |  | 0
G | NRD; 200x200mm | No | 2 |  | 0
Supply and install ventilation fans including controls, cables, conduit, accessories and connections as per Drawings and Specifications
3 Bed
H | EF-3-1; Inline centrifugal fan, Airflow 120.5L/s | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q5 MECHANICAL ENGINEERING - VENTILATION INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 60
| Total Brought Forward from Page No. |  | 61
| Carried to Final Summary |  |  | AED
Q6 MECHANICAL ENGINEERING - FUEL INSTALLATIONS
Q61 LPG INSTALLATIONS
Supply and install copper pipe and fittings including hangers and supports as per drawings and specifications
A | ×20 Copper Pipe In pipe arrangement | m | 4 |  | 0
B | Isolation valve-20mm | No | 6 |  | 0
C | Auto shut-off valve-20mm | No | 2 |  | 0
Supply and install HDPE in pipe and fittings including hangers and supports as per drawings and specifications
D | ×20 HDPE U/G Pipe | m | 28 |  | 0
E | Transition Fittings of 20mm dia HDPE pipe to 20mm dia copper pipe | No | 2 |  | 0
F | Gas meter cabinet including gas meter | No | 2 |  | 0
G | Pressure regulator with OPSD 4bar to 37mbar | No | 2 |  | 0
Supply and install copper pipe and fittings including hangers and supports as per drawings and specifications
H | 20mm Flexible pipe for final connections to equipment | m | 1 |  | 0
Supply and install pipework ancillaries as per drawings and specifications
J | Solenoidal valve-20mm | No | 2 |  | 0
K | Gas detector | No | 2 |  | 0
A | Allow for FP 200 Fire Proof cable | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q7 MECHANICAL ENGINEERING - FIRE PROTECTION
Supply and install fire extinguisher and connections as per drawings and specifications
A | 2.5Kg Multi Purpose dry powder fire extinguisher | No | 2 |  | 0
| Carried to Collection |  |  | AED
Q9 MECHANICAL ENGINEERING - SUNDRIES AND INCIDENTALS
Q91 SUNDRIES & INCIDENTALS
A | Allowance for Sundries & Incidentals | Item | 2 |  | 0
| Carried to Collection |  |  | AED
Q10 MECHANICAL ENGINEERING - BILL OF ADDITIONS & OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
1 | Q1 MECHANICAL ENGINEERING - SANITARY APPLIANCES | Page | 47
2 | Q2 MECHANICAL ENGINEERING - DISPOSAL INSTALLATIONS | Page | 51
3 | Q3 MECHANICAL ENGINEERING - WATER INSTALLATIONS | Page | 55
4 | Q4 MECHANICAL ENGINEERING - SPACE HEATING AND AIR CONDITIONING | Page | 59
5 | Q5 MECHANICAL ENGINEERING - VENTILATION INSTALLATIONS | Page | 62
6 | Q6 MECHANICAL ENGINEERING - FUEL INSTALLATIONS | Page | 63
7 | Q7 MECHANICAL ENGINEERING - FIRE PROTECTION | Page | 64
9 | Q9 MECHANICAL ENGINEERING - SUNDRIES AND INCIDENTALS | Page | 65
10 | Q10 MECHANICAL ENGINEERING - BILL OF ADDITIONS AND OMISSIONS | Page | 66
| Carried to Final Summary |  |  | AED
R1 ELECTRICAL ENGINEERING - MAINS AND SUBMAINS INSTALLATIONS
R11 MAINS DISTRIBUTION
Supply and install meter cabinet including terminations and accessories as per drawings and specifications
A | 3BR-T1; DEWA metering cabinet-weather proof IP65 | No | 2 |  | 0
Allow for Installation and connection of KWH Meter ( Supplied by DEWA)
B | KWH meter | No | 2 |  | 0
Supply and install UPVC duct pipe including connections and accessories as per drawings and specifications
C | 1 No 100mm dia UPVC duct pipe | m | 10 |  | 0
D | 1 No 80mm dia UPVC duct pipe | m | 16 |  | 0
E | 1 No 50mm dia UPVC duct pipe | m | 44 |  | 0
F | 1 No 32mm dia UPVC duct pipe | m | 48 |  | 0
R12 FINAL DISTRIBUTION
Supply and install distribution boards including fixings and accessories as per drawings and specifications
G | DB-3BR-T1-GF | No | 2 |  | 0
H | DB-3BR-T1-1F | No | 2 |  | 0
J | 4C 25mm"² XLPE/SWA/PVC 16mm2 PVC/CU ECC | m | 22 |  | 0
A | 4C 16mm"² XLPE/SWA/PVC 16mm2 PVC/CU ECC | m | 12 |  | 0
| Carried to Collection |  |  | AED
Supply and install conduit and wiring for Isolator including connections and accessories as per drawings and specifications
B | Isolator Points | No | 18 |  | 0
Supply and install SPN Isolators including fixings and accessories as per drawings and specifications
C | 20A, SPN, WP, Isolator | No | 8 |  | 0
D | 32A, SPN, WP, Isolator | No | 10 |  | 0
| Carried to Collection |  |  | AED
R1 ELECTRICAL ENGINEERING - MAINS AND SUBMAINS INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 68
| Total Brought Forward from Page No. |  | 69
| Carried to Final Summary |  |  | AED
R2 ELECTRICAL ENGINEERING - SMALL POWER INSTALLATIONS
R21 SMALL POWER - GENERAL
Supply and install conduit and wiring for small power devices including connections and accessories as per drawings and specifications
A | Small power points | No | 120 |  | 0
Supply and install power devices including fixings and accessories as per drawings and specifications
B | 13A Single switched socket outlet | No | 42 |  | 0
C | 13A Single switched socket outlet W/P | No | 14 |  | 0
D | 13A Twin switched socket outlet | No | 10 |  | 0
E | 13A Single switched socket outlet with USB | No | 10 |  | 0
F | 13A Single switched socket outlet with transparent W/P cover | No | 2 |  | 0
G | 13A Switched fused spur outlet with neon indicator | No | 6 |  | 0
H | 13A Switched fused spur outlet with neon indicator for FCU | No | 8 |  | 0
J | 13A Unswitched fused spur outlet with neon indicator | No | 2 |  | 0
K | 20A Flex outlet | No | 4 |  | 0
L | 20A Flex outlet with transparent W/P cover | No | 6 |  | 0
M | 20A DP Switch with neon Indicator | No | 12 |  | 0
N | Pilot light indicator for exhaust fan | No | 2 |  | 0
A | Emergency shut-off switch | No | 2 |  | 0
| Carried to Collection |  |  | AED
R3 ELECTRICAL ENGINEERING - LIGHTING INSTALLATIONS
R31 LIGHTING - GENERAL
Supply and install conduit and wiring for light fittings including connections and accessories as per drawings and specifications
A | Light points | No | 124 |  | 0
B | Linear light ( Conduit & Wiring) | m | 4 |  | 0
Supply, Install light fittings including driver as per drawings and specifications. MEP Subcontractor to carry out quantification, coordination, handling from Contractor's store, shifting, positioning, installation, protection, including supply and installation of all required connection accessories.
C | LT-01; Internal corridor, 10W LED, recessed ceiling down light - 3000"°k, IP20, at | No | 30 |  | 0
D | LT-02; Kitchen, 15W LED, recessed ceiling down light - 3000"°k, IP44 | No | 8 |  | 0
E | LT-02; Bath rooms, 15W LED, recessed ceiling down light - 3000"°k, IP65 | No | 20 |  | 0
F | LT-03; Bath rooms vanity, 10W LED, recessed ceiling down light - 3000"°k, IP65 | No | 4 |  | 0
G | LT-05; Kitchen/pantry, 10W/M LED, under kitchen cabinet LED strip light, IP65 | m | 4 |  | 0
H | LT-06; Staircase, decorative wall sconce 15W LED, surface mounted (2x7w), IP20 | No | 8 |  | 0
| Carried to Collection |  |  | AED
J | LT-06; Laundry, store, pump room, 15W LED, wall mounted/ceiling surface light 3000"°k, IP44 | No | 6 |  | 0
A | LT-04; Living room, 15-20W LED, - decorative surface/ pendant lighting fixture as per id (load provision 100w) 3000"°k, IP20 | No | 6 |  | 0
B | LT-04; Bed room, 15-20W LED, - decorative surface/ pendant lighting fixture as per id (load provision 100w) 3000"°k, IP20 | No | 6 |  | 0
C | LT-04; Maid room, 15-20W LED, surface/ recessed lighting fixture as per id 3000"°k, IP20 | No | 2 |  | 0
D | EX-01; Balcony, external, 15W LED, wall mounted external decorative lights 3000"°k (2x7w), IP65 | No | 16 |  | 0
E | EX-02; Car parking, 30W LED, square type ceiling surface mounted light, 3000"°k, IP65 | No | 4 |  | 0
F | EX-03; External roof, 15W LED, wall mounted light die cast aluminum, IP65 | No | 4 |  | 0
G | EX-04 (Provision only); boundary wall, wall mounted light point provision with containment & pull rope | No | 10 |  | 0
| Carried to Collection |  |  | AED
R3 ELECTRICAL ENGINEERING - LIGHTING INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 71
| Total Brought Forward from Page No. |  | 72
| Total Brought Forward from Page No. |  | 73
| Carried to Final Summary |  |  | AED
R4 ELECTRICAL ENGINEERING - LIGHTING CONTROL INSTALLATIONS
R41 LIGHTING CONTROL -GENERAL
Supply and install conduit and wiring for lighting control devices including connections and accessories as per drawings and specifications
A | Lighting control points | No | 56 |  | 0
Supply and install lighting control devices including fixing and accessories as per drawings and specifications
B | 1Gang 1way Switch | No | 4 |  | 0
C | 1Gang 2way Switch | No | 18 |  | 0
D | 2Gang 1way Switch | No | 16 |  | 0
E | 2Gang 2way Switch | No | 6 |  | 0
F | 3Gang 1way Switch | No | 2 |  | 0
G | 1Gang 1way Switch W/P | No | 2 |  | 0
H | Combined 1Gang 2way and 2Gang 1 way | No | 4 |  | 0
J | Door Bell Push Button W/P | No | 2 |  | 0
K | Door bell | No | 2 |  | 0
| Carried to Collection |  |  | AED
R5 ELECTRICAL ENGINEERING - COMMUNICATION, SECURITY AND CONTROL INSTALLATIONS
R51 COMMUNICATION INSTALLATIONS
Supply and install conduit and wiring for telephone/data devices including fixings and accessories as per drawings and specifications
A | Telephone and data points | No | 16 |  | 0
Supply and install Telephone/ data devices including fixings and accessories as per drawings and specifications
B | Twin data RJ45 outlet | No | 12 |  | 0
C | Single data RJ45 outlet | No | 4 |  | 0
D | Manhole Heavy duty 600X600X800mm | No | 2 |  | 0
E | Telecom Junction Box 150mm(H)x150mm(W)x75mm(D) | No | 4 |  | 0
F | Home Consolidation cabinet 12U 600(H)x600(W)x150(D)mm | No | 2 |  | 0
G | Conduit provision for Intercom system | No | 8 |  | 0
Supply and install Upvc Duct and accessories including fixings and accessories as per drawings and specifications
H | 50mm Under ground UPVC duct with nylon rope | m | 72 |  | 0
| Carried to Collection |  |  | AED
R54 FIRE ALARM INSTALLATIONS
Supply and install fire alarm devices including fixings and accessories as per drawings, Hassantuk requirements and specifications (Supply by Client, The contractor shall coordinate with Etisalat and Hassantuk"s system integrator to provide all the necessary ancillaries.)
A | Wireless Heat Detector | No | 4 |  | 0
B | Wireless Smoke Detector | No | 22 |  | 0
C | Hassantuk ATE Panel | No | 2 |  | 0
D | Hassantuk ATE Panel (Repeater) | No | 6 |  | 0
| Carried to Collection |  |  | AED
R5 ELECTRICAL ENGINEERING - COMMUNICATION, SECURITY AND CONTROL INSTALLATIONS
| COLLECTION |  | Page
| Total Brought Forward from Page No. |  | 75
| Total Brought Forward from Page No. |  | 76
| Total Brought Forward from Page No. |  | 77
| Carried to Final Summary |  |  | AED
R6 ELECTRICAL ENGINEERING - EARTHING AND LIGHTNING INSTALLATIONS
R63 EARTHING AND LIGHNING PROTECTION GENERALLY
Supply and install earthing and lightning protection system as per drawings and specifications
A | Earth pit | No | 2 |  | 0
B | 1C x 16mm2 ECC cable | m | 18 |  | 0
| Carried to Collection |  |  | AED
R7 ELECTRICAL ENGINEERING - SUNDRIES AND INCIDENTALS
R71 SUNDRIES
A | Allowance for Sundries | Item | 2 |  | 0
| Carried to Collection |  |  | AED
R8 ELECTRICAL ENGINEERING - BILL OF ADDITIONS & OMISSIONS
The tenderer is to identify and price any items that are shown in the design information which are not included in this section. The tenderer may also make adjustments to any quantities in the BOQ by recording the affected item below and the corresponding quantity adjustment.
| Carried to Collection |  |  | AED
1 | R1 ELECTRICAL ENGINEERING - MAINS AND SUBMAINS INSTALLATIONS | Page | 70
2 | R2 ELECTRICAL ENGINEERING - SMALL POWER INSTALLATIONS | Page | 71
3 | R3 ELECTRICAL ENGINEERING - LIGHTING INSTALLATIONS | Page | 74
4 | R4 ELECTRICAL ENGINEERING - LIGHTING CONTROL INSTALLATIONS | Page | 75
5 | R5 ELECTRICAL ENGINEERING - COMMUNICATION, SECURITY AND CONTROL INSTALLATIONS | Page | 78
6 | R6 ELECTRICAL ENGINEERING - EARTHING AND LIGHTNING INSTALLATIONS | Page | 79
7 | R7 ELECTRICAL ENGINEERING - SUNDRIES AND INCIDENTALS | Page | 80
8 | R8 ELECTRICAL ENGINEERING - BILL OF ADDITIONS AND OMISSIONS | Page | 81
| Carried to Final Summary |  |  | AED
1 | SECTION B - SITE WORK | Page | 4
2 | SECTION C - CONCRETE WORK | Page | 9
3 | SECTION D - MASONRY | Page | 13
4 | SECTION E - METAL WORK | Page | 16
5 | SECTION F - WOODWORK | Page | 22
6 | SECTION G - THERMAL & MOISTURE PROTECTION | Page | 27
7 | SECTION H - DOORS AND WINDOWS | Page | 30
8 | SECTION J - FINISHES | Page | 37
9 | SECTION K - ACCESSORIES | Page | 40
10 | SECTION L - EQUIPMENT | Page | 41
11 | SECTION Q - MECHANICAL ENGINEERING INSTALLATIONS | Page | 67
12 | SECTION R- ELECTRICAL ENGINEERING INSTALLATIONS RATE# | Page | 82
| Carried to Grand Summary |  |  | AED